## EngineersEstimate
Cost Estimate (for public sewers/ReW)
FOR JOB ENGINEER'S USE |  |  |  |  | CENTRAL SAN DATA
PREPARED BY |  | DATE |  |  | JOB #
COMPANY |  | ENGR JOB# |  |  | REVIEWED BY
Public Sanitary Sewer or ReW System |  |  | Line Designation |  |  |  | A
Summary Table |  |  | Status | Type | Quantity | UOM | Cost/UOM | Extended Cost
Line Designation | Extended Cost |  | New | Standard Manholes | 2 | EA | 14000 | 28000
A | 94000 |  | New | Trunk Manholes | 1 | EA | 20000 | 20000
B | 74000 |  | New | 8” PVC (SDR-26) | 150 | LF | 300 | 45000
C |  |  | Remove | Existing Rodding Inlet | 1 | EA | 500 | 500
|  |  | Remove | 10 LF existing 6” VCP Stub | 1 | LS | 500 | 500
|  |  | Total |  |  |  |  | 94000
|  |  | Line Designation |  |  |  | B
Total | 140000 |  | Status | Type | Quantity | UOM | Cost/UOM | Extended Cost
|  |  | New | Standard Manholes | 2 | EA | 14000 | 28000
red/bold = calculated cell |  |  | New | Trunk Manholes | 0 | EA | 20000 | 0
green = linked value |  |  | New | 8” PVC (SDR-26) | 150 | LF | 300 | 45000
blue = enter job-specific information |  |  | Remove | Existing Rodding Inlet | 0 | EA | 500 | 0
|  |  | Remove | 10 LF existing 6” VCP Stub | 2 | LS | 500 | 1000
|  |  | Total |  |  |  |  | 74000
|  |  | Line Designation |  |  |  | C
|  |  | Status | Type | Quantity | UOM | Cost/UOM | Extended Cost
|  |  | New | Standard Manholes | 2 | EA | 14000 | 28000
|  |  | New | Trunk Manholes | 0 | EA | 20000 | 0
|  |  | New | 8” PVC (SDR-26) | 150 | LF | 300 | 45000
|  |  | Remove | Existing Rodding Inlet | 0 | EA | 500 | 0
|  |  | Remove | 10 LF existing 6” VCP Stub | 2 | LS | 500 | 1000
|  |  | Total |  |  |  |  | 74000